5946 Millbury Court

Charlotte NC 28211

EMail: galden@pooldesignconsultants.com 			Telephone 704/362-3144

Web Site at www.pooldesignconsultants.com

Facility:    		Prestonwood Country Club

Cary NC

Completion Date: 	Spring of 1997

Aquatic facility narrative:

  - General attributes:

    - Scope of design by Pool Design Consultants

      - Wading pool with multiple play areas and pool bottom and wall water features

      - Competition pool including surge tank application with stainless steel gutters and full compliment of deck and competition equipment

      - Multiple use pool including a shallow leisure area with in pool sitting capabilities, diving stand and 1 meter diving board area, triple loop deck mounted slide and lap swimming area

      - Pool equipment room and chemical storage room hydraulics

    - Scope of design by the architect

      - Amenity building

      - Deck

      - Fence

      - Shelters

      - Bathhouse

      - Pool equipment building

  - Design Criteria

    - Regulatory and Standards

      - NC Department of Environment and Natural Resources T15A: 18A .2500 NC DENR, DEH Environmental Health Services March 1, 2004  SECTION .2500 - PUBLIC SWIMMING POOLS

      - ANSI/NSPI 1 Current edition at the time of design

    - Activities:

      - Competitive swimming events

      - Large deck area to accommodate multiple swim team events and allow for high volume use

      - Aerobics

      - Leisure activities

      - Zero depth entry

      - ADAAG access

      - Slide feature

      - Water features using wading pool

    - Operational attributes:

      - Automatic filter backwash systems

      - Automated sanitation systems

      - Institutional quality hydraulic systems

      - Automated water level control systems

- Sincerely,

# Gary Wayne Alden